## Version
v0.1 | 2018-08-23 | 1st draft
v0.2 | 2018-09-20 | following Gap Analysis and Shamaila comments
v0.3 | 2018-10-19 | TC prior to WG
v0.4 | 2018-10-23 | Following WG1 Meeting
v 0.5 | 2018-10-25 | For DWG
v0.6 | 2018-11-29 | Internal review
v1.0 | 2018-01-24 | For Ofgem Stage 2 Report

## Advanced_Metering_Service
Ref # | Requirement Title | Category | Sub-Category | Requirement Description | Applicable To | MoSCoW Rating | Grouping | Reqs.Mapping | Requirement Type | Notes
1 | Governance
MSA1.1 | Adherence to Industry Codes | Governance | Code Compliance | The MSA shall comply with all relevant Industry Codes and implement changes to the MSA as required by Modifications to the Codes. | Metering Service Advanced | Must have | Governance | Non-Functional | Non-Functional | Possibly need to be more explicitly about which Codes! Needs to include MOCOPA
2 | General
MSA2.1 | System Qualification | General | Service Design | The MSA must operate a qualified system | Metering Service Advanced | Must have | Service Design | Service Design | Non-Functional
3 | Interfaces
MSA3.1 | MSA accesses Industry Standing Data | I/O Interface | Input interface | The MSA must be able to access ISD from the VAS as appropriate | Metering Service Advanced | Must have | Operations | AMS1 | Functional
MSA3.2 | MSA Interfaces with ARP service(s) (Output) | I/O Interface | Output Interface | The MSA must be able to interface with the ARP to notify Meter Technical details and other data as appropriate. | Metering Service Advanced | Must have | Operations | AMS1 | Functional
MSA3.3 | MSA Interfaces with ARP service (Input/Output) | I/O Interface | Input/ Output Interface | The MSA must be able to interface with the ARP to access requests for Metering fault investigation. The MSA must notify updates to the ARP on Metering fault investigations. | Metering Service Advanced | Must have | Operations | AMS6 | Functional
MSA3.4 | MSA receives Notification of [appointment/deappointment] | I/O Interface | Input Interface | The MSA must be able to access Notifications of [Appointments and Deappointments] to MPANs by Balancing Responsible Party (Supplier) (registration service?) | Metering Service Advanced | Must have | Operations | AMS1 | Functional | Need to consider if Suppliers appoint agents directly, or all stakeholders use the 'single version of the truth' in the Registration system. Distributor wants to know who MOA is, as they work on the DNO network
MSA3.5 | MSA responds to Notification with acceptance or rejection of [appointment] | I/O Interface | Output Interface | The MSA must be able to accept or reject [appointment/de-appointment] to supplier (registration service?) with reasons (reasons include unable to support meter type, do not operate in geography, etc.) | Metering Service Advanced | Must have | Operations | AMS1 | Functional
MSA3.6 | MSA receives notification of request to carry out site work | I/O Interface | Input Interface | The MSA must be able to access requests to carry out physical/site work. E.g. install, remove, energise, deenergise, investigate (fault). Also to cancel/amend planned work. | Metering Service Advanced | Must have | Operations | AMS1 | Functional
MSA3.7 | MSA notifies of updates on requests for physical work | I/O Interface | Output Interface | The MSA must be able to notify updates on requested work (physical). Such as advising date/time work actually scheduled | Metering Service Advanced | Must have | Operations | AMS1, AMS6 | Functional | This could be the result of the site visit or the current status e.g. booked
MSA3.8 | MAS informs other parties of commissioning | I/O Interface | Commissioning | MSA must be able to inform other parties of the outcome of commissioning | Metering Service Advanced | Must have | Operations | AMS1 | Functional
MSA3.9 | LDSO informs MSA of change of energisation status | I/O Interface | Change of Energisation | The MSA must be able to access notifications by the LDSO of the change in energisation status (e.g.. Large LV or HV switching) | Metering Service Advanced | Must have | Operations | AMS4 | Functional
MSA3.10 | MSA informs other parties of energisation status change | I/O Interface | Change of Energisation | The MSA must be able to notify change in energisation status to other parties | Metering Service Advanced | Must have | Operations | AMS4 | Functional
MSA3.11 | MSA notifies ARP to collect data prior to meter power down | I/O Interface | Output Interface | The MSA must be able to notify the ARP service to collect SP level data prior to meter power down/removal. Also collect meter register reads | Metering Service Advanced | Must have | Operations | AMS5 | Functional
MSA3.12 | MSA must be able to notify other services of final read on meter power down | I/O Interface | Output Interface | The MSA must be able to notify other services of final & start total cumulative read taken on site during meter remove/install | Metering Service Advanced | Must have | Operations | AMS5 | Functional | This requirement Includes the BRP (Supplier)
MSA3.13 | MSA notifies other services of site metering issue | I/O Interface | Output Interface | The MSA must be able to notify to other service of site issues | Metering Service Advanced | Must have | Operations | AMS6 | Functional
MSA10.3 | MSA notifies other service of authorised power loss | I/O Interface | Output Interface | The MSA must be able to notify to other services of authorised interruption of power to meter (identify if no usage = whole current [or usage continue = CT], will influence energy estimation or not) | Metering Service Advanced | Must have | Operations | AMS4 | Functional | The ARP service may need to take account of known periods where there will be no consumption. Suppliers and LDSO may need to know to ignore any alerts of power downs
MSA3.14 | MSA notifies of request to carry out non-site work | I/O Interface | Input/ Output Interface | The MSA must be able to access notification of request to carry out non-physical/non-site work e.g. share physical MTDs, investigate records | Metering Service Advanced | Must have | Operations | AMS6 | Functional
MSA3.15 | MSA carries out request to notify physical MTD | I/O Interface | Output Interface | The MSA must be able to notify changes of physical MTD to Parties as appropriate (these include ECOES/MPAS, MAP, Data Processor, BRP (Supplier) and Distributor) e.g. meter serial number, meter make and model, location, [CT ratio] | Metering Service Advanced | Must have | Operations | AMS3 | Functional
MSA3.16 | MSA notifies other services of tampering | I/O Interface | Output Interface | The MSA must notify other services of signs of tampering/interference on site | Metering Service Advanced | Must have | Operations | AMS6 | Functional
4 | Data Marshalling
MSA4.1 | MSA uses Industry Standing Data | Data Marshalling | Industry Standing Data | The MSA must be able to use ISD for validation or other purposes as appropriate | Metering Service Advanced | Must have | Operations | AMS1 | Functional | Validation requires checks that data matches valid data and valid data sets defined in ISD.
MSA4.2 | MSA uses appointment data to determine authority to carry out work | Data Marshalling | Work request management | The MSA must apply appointment periods to request to carry out work. The MSA must only carry out work during its period of appointment | Metering Service Advanced | Must have | Operations | AMS1 | Functional
MSA4.3 | MSA identifies equipment subject to safety/accuracy notifications | Data Marshalling | Asset management | The MSA must ensure all equipment the metering service is responsible of remains fit for purpose (accuracy, safe, etc.). This requires the maintenance of records of assets the metering service is responsible for, and identifying any equipment that is highlighted as determined as not fit for purpose. | Metering Service Advanced | Must have | Operations | AMS1 | Functional
MSA4.4 | MSA uses import/export MPAN relationships | Data Marshalling | Schedule work | The MSA must apply relationship of Meter with import and export MPANs to scheduling of work | Metering Service Advanced | Must have | Operations | AMS1 | Functional | Where work is request for an import MPAN but the meter also has an export MPAN details must be shared with other services for both MPANs. Registration system should identify relationship. BSC requires same MSA appointed to both import and export MPAN
MSA4.5 | The MSA carries out proving test | Data Marshalling | Proving Test | The MSA must be able to carry out proving tests where complex site or advanced metering with an integral outstation with a non 1 pulse multiplier or separate outstation. Process equivalent current proving tests | Metering Service Advanced | Must have | Operations | AMS1 | Functional
MSA4.6 | MSA complex site requirements | Data Marshalling | Complex Sites | The MSA must be able to handle complex sites. Processes as current complex site processes | Metering Service Advanced | Must have | Operations | AMS1 | Functional
5 | Metering Activities
MSA5.1 | MSA carries out meter accuracy check | Metering Activities | Accuracy check | The MSA must be able to undertake a Meter accuracy check | Metering Service Advanced | Must have | Activity | AMS1 | Functional
MSA5.2 | MSA undertakes Advanced meter commissioning | Metering Activities | Advanced Metering Commissioning | The MSS must be able to carry out commissioning checks as per BSC CoP4 - (e.g. whole current: is energy flow in the correct direction, CT ratio check) | Metering Service Advanced | Must have | Activity | AMS1 | Functional
MSA5.3 | MAS carries out meter commissioning | Metering Activities | CT/VT Commissioning | The MSA must be able to carry out commissioning checks on Measurement Transformers when not responsibility of a BSC Party (in which case BSC party does the checks, typically LDSO) | Metering Service Advanced | Must have | Activity | AMS1 | Functional | Required where measurement transformers are not the responsibility of the LDSO. CTs may also be used on legacy meters
MSA5.4 | MSA carries out change of energisation status | Metering Activities | Energisation status change | The MSA must be able to undertake change of energisation of metering equipment | Metering Service Advanced | Must have | Activity | AMS4 | Functional
MSA5.5 | The MSA carries out change to comms equipment on site | Metering Activities | Fit comms | The MSA must be able to Install/remove and maintain communications (non BSC requirement?) | Metering Service Advanced | Must have | Activity | AMS1 | Functional | On site activity involving change to comms equipment, e.g. install comms equipment, exchange comms equipment
MSA5.6 | The MSA Identifies on site metering issue | Metering Activities | Identify site issues | The MSA must be able to Identify site issues (damaged meter, meter not advancing, meter not accessible, etc.) | Metering Service Advanced | Must have | Activity | AMS6 | Functional
MSA5.7 | MSA notifies of abortive work | Metering Activities | Output | The MSA must be able to notify of aborted work (no access, customer refuse, etc.) | Metering Service Advanced | Must have | Activity | AMS1, AMS6 | Functional
MSA5.8 | MSA carries out metering install | Metering Activities | Install | The MSA must be able to Install metering equipment | Metering Service Advanced | Must have | Activity | AMS1, AMS5 | Functional
MSA5.9 | MSA carries out on site metering investigation | Metering Activities | On-site meter investigation | The MSA must be able to carry out on-site meter investigation (investigate & fix faults) | Metering Service Advanced | Must have | Activity | AMS6 | Functional
MSA5.10 | MSA carries out other onsite metering work | Metering Activities | Other | The MSA must be able to undertake other on-site work as appropriate. e.g. moving meter within day | Metering Service Advanced | Must have | Activity | AMS1 | Functional
MSA5.11 | MSA carries out metering removal | Metering Activities | Remove | The MSA must be able to remove metering equipment | Metering Service Advanced | Must have | Activity | AMS1, AMS5 | Functional
MSA5.12 | MSA sealing of metering equipment | Metering Activities | Sealing | The MSA must ensure all metering equipment is sealed with compliant seals (as defined in BSC & MOCOPA) | Metering Service Advanced | Must have | Activity | AMS1 | Functional
6 | Data Management
MSA6.1 | MSA carries out data investigation | Data Management | Data investigation (off site) | The MSA must be able to undertake data investigation (off site) such as inconsistent standing data | Metering Service Advanced | Must have | Activity | AMS6 | Functional
MSA5.2 | MSA ensures compliance with metering equipment standards | Data Management | MID/SMETS compliance | The MSA must ensure metering equipment the metering service is responsible for is compliant with the relevant standards (e.g. BSC Metering CoPs) | Metering Service Advanced | Must have | Business Rule | AMS1 | Business Rule
7 | Service Specific Non-Functional
MSA7.1 | MSA maintains records of site activities for audit | Audit | Audit | The MSA must record activities carried out on site | Metering Service Advanced | Must have | Activity | Non-Functional | Non-Functional
MSA7.2 | MSA Maintains records of assets for audit | Audit | Audit | The MSA must record location of assets e.g., stock, on wall, destroyed | Metering Service Advanced | Must have | Activity | Non-Functional | Non-Functional
SM365
SM366
SM367
SM368
SM369
SM370
SM371
SM372
SM373
SM374
SM375
SM376
SM377
SM378
SM379
SM380
SM381
SM382
SM383
SM384
SM385
SM386
SM387
SM388
SM389
SM390
SM391
SM392
SM393
SM394
SM395
SM396
SM397
SM398
SM399
SM400
SM401
SM402
SM403
SM404
SM405
SM406
SM407
SM408
SM409
SM410
SM411
SM412
SM413
SM414
SM415
SM416
SM417
SM418
SM419
SM420
SM421
SM422
SM423
SM424
SM425
SM426
SM427
SM428
SM429
SM430
SM431
SM432
SM433
SM434
SM435
SM436
SM437
SM438
SM439
SM440
SM441
SM442
SM443
SM444
SM445
SM446
SM447
SM448
SM449
SM450
SM451
SM452
SM453
SM454
SM455
SM456
SM457
SM458
SM459
SM460
SM461
SM462
SM463
SM464
SM465
SM466
SM467
SM468
SM469
SM470
SM471
SM472
SM473
SM474
SM475
SM476
SM477
SM478
SM479
SM480
SM481
SM482
SM483
SM484
SM485
SM486
SM487
SM488
SM489
SM490
SM491
SM492
SM493
SM494
SM495
SM496
SM497
SM498
SM499
SM500
SM501
SM502
SM503
SM504
SM505
SM506

## Service_Diagrams
Metering Service (Advanced)

## Glossary
Applicable To | Category | Sub-Category | Grouping | Notes
Metering Service Advanced
| Governance | Code Compliance | Governance
| General | Service Design | Service Design
| I/O Interface | Input interface | Operations
|  | Output Interface | Operations
|  | Input/ Output Interface | Operations
|  | Output Interface | Operations
|  | Commissioning | Operations
|  | Change of Energisation | Operations
| Data Marshalling | Market Standing Data | Operations
|  | Work request management | Operations
|  | Asset management | Operations
|  | Schedule work | Operations
|  | Proving Test | Operations
|  | Complex Sites | Operations
| Metering Activities | Accuracy check | Activity
|  | Advanced Metering Commissioning | Activity
|  | CT/VT Commissioning | Activity
|  | Energisation status change | Activity
|  | Fit comms | Activity
|  | Identify site issues | Activity
|  | Output | Activity
|  | Install | Activity
|  | On-site meter investigation | Activity
|  | Other | Activity
|  | Remove | Activity
|  | Sealing | Activity
| Data Management | Data investigation (off site) | Activity
|  | MID/SMETS compliance | Business Rule
| Audit | Audit | Activity

## Mapping
This Service will be responsible for:
AMS1 | Installing, commissioning and maintaining AdvancedMeters;
AMS2 | Configuration of Advanced Meters;
AMS3 | Maintaining an accurate register of Physical Meter Technical Details;
AMS4 | Energisation and de-energisation of Advanced Meters (excluding large LV & HV);
AMS5 | Connection and disconnection of Advanced Meters; and
AMS6 | Meter and communication equipment fault investigation where a site visit is required.