## Version
v0.1 | 2018-07-20 | 1st draft
v0.2 | 2018-08-15 | 2nd draft following DWG subgroup feedback
v0.3 | 2018-08-23 | Format alignment with other services
v0.4 | 2018-09-20 | Following Gap analysis and Shamaila comments
v0.5 | 2018-10-19 | TC prior to WG
v0.6 | 2018-10-23 | Following WG1 Meeting
v0.7 | 2018-10-25 | For DWG
v1.0 | 2019-01-24 | For Ofgem Stage 2 Report

## Smart_Metering_Service
Ref # | Requirement Title | Category | Sub-Category | Requirement Description | Applicable To | MoSCoW Rating | Grouping | Reqs.Mapping | Requirement Type | Notes
1 | Governance
MSS1.1 | Adherence to Industry Codes and Agreements | Governance | Code Compliance | The MSS shall comply with all relevant Industry Codes and Agreements and must implement changes to the MSS as required by Modifications to the Codes. | Metering Service Smart | Must have | Governance | Non-Functional | Non-Functional | Agreements include MOCOPA for this service.
2 | General
MSS2.1 | System Qualification | General | Code Compliance | The MSS operate a qualified system | Metering Service Smart | Must have | Service Design | Non-Functional | Non-Functional
3 | Interfaces
MSS3.1 | MSS accesses Industry Standing Data | I/O Interface | Input interface | The MSS must be able to access ISD from the VAS as appropriate | Metering Service Smart | Must have | Operations | MSS1 | Functional
MSS3.2 | MSS Interfaces with Processing Service(s) (Output) | I/O Interface | Output Interface | The MSS must be able to interface with the PSS to notify Meter Technical details and other data as appropriate. | Metering Service Smart | Must have | Operations | MSS1 | Functional
MSS3.3 | MSS Interfaces with Processing Service(s) (Input/Output) | I/O Interface | Input/ Output Interface | The MSS must be able to interface with the PSS to access requests for Metering fault investigation. The MSS must notify updates to the PSS on Metering fault investigations. | Metering Service Smart | Must have | Operations | MSS6 | Functional
MSS3.4 | MSS receives Notification of [appointment/deappointment] | I/O Interface | Input Interface | The MSS must be able to access Notifications of [Appointments and Deappointments] to MPANs by Balancing Responsible Party (BRP) [Supplier]) | Metering Service Smart | Must have | Operations | MSS1 | Functional
MSS3.5 | MSS responds to Notification with acceptance or rejection of [appointment] | I/O Interface | Output Interface | The MSS must be able to accept or reject [appointment/de-appointment] to BRP (Supplier) with reasons (reasons include unable to support meter type, do not operate in geography, etc.) | Metering Service Smart | Must have | Operations | MSS1 | Functional
MSS3.6 | MSS receives notification of request to carry out site work | I/O Interface | Input Interface | The MSS must be able to access notification of requests to carry out physical/site work. E.g. install, remove, energise, deenergise, investigate (fault). Also to cancel/amend planned work. | Metering Service Smart | Must have | Operations | MSS1 | Functional | BRP (supplier), LDSO or fault investigation directed by PSS.
MSS3.7 | MSS notifies of updates on requests for physical work | I/O Interface | Output Interface | The MSS must be able to notify updates on requested work (physical). Such as advising date/time work actually scheduled | Metering Service Smart | Must have | Operations | MSS1, MSS6 | Functional | This could be the result of the site visit or the current status e.g. booked
MSS3.8 | MSS inform other parties of commissioning | I/O Interface | Output Interface | MSS must be able to inform other parties of the outcome of commissioning | Metering Service Advanced | Must have | Operations | MSS1 | Functional
MSS3.9 | MSS informs other parties of energisation status change | I/O Interface | Output Interface | The MSS must be able to notify change in energisation status to other parties | Metering Service Smart | Must have | Operations | MSS4 | Functional
MSS3.10 | The MSS notifies PSS to collect data on meter power down | I/O Interface | Output Interface | The MSS must be able to notify the PSS to collect SP level data prior to meter power down/removal. Also collect meter register reads | Metering Service Smart | Must have | Operations | MSS5 | Functional | Change to PSS
MSS3.11 | The MSS must be able to notify other services of final read on meter power down | I/O Interface | Output Interface | The MSS must be able to notify other services of final & start total cumulative and ToU and PPM reads taken on site during meter remove/install | Metering Service Smart | Must have | Operations | MSS5 | Functional | Requirement includes BRP (Supplier)
MSS3.12 | MSS notifies other services of site metering issue | I/O Interface | Output Interface | The MSS must be able to notify to other service of site issues | Metering Service Smart | Must have | Operations | MSS6 | Functional
MSS3.13 | MSS notifies other service of authorised power loss | I/O Interface | Output Interface | The MSS must be able to notify to other services of authorised interruption of power to meter (identify if no usage = whole current [or usage continue = CT], will influence energy estimation or not) | Metering Service Smart | Must have | Operations | MSS4 | Functional | Processing service and retrieval service may need to take account of know periods where there will be no consumption. Suppliers and LDSO may need to know to ignore any alerts of power downs
MSS3.14 | MSS notifies of request to carry out non-site work | I/O Interface | Input Interface | The MSS must be able to access notification of request to carry out non-physical/non-site work e.g. share physical MTD, investigate records | Metering Service Smart | Must have | Operations | MSS6 | Functional
MSS3.15 | MSS carries out request to notify physical MTD | I/O Interface | Output Interface | The MSS must be able to notify changes of physical MTD to Parties as appropriate (these include ECOES/MPAS, MAP, Data Processor, BRP (Supplier) and Distributor) e.g. meter serial number, meter make and model, location, [CT ratio] | Metering Service Smart | Must have | Operations | MSS3 | Functional
MSS3.16 | MSS notifies other services of tampering | I/O Interface | Output Interface | The MSS must notify other services of signs of tampering/interference on site | Metering Service Smart | Must have | Operations | MSS6 | Functional
MSS3.17 | MSS informs other parties of Meter configuration | I/O Interface | Output Interface | The MSS must pass Meter Configuration (Related meters, TOU and/or PPM) details to relevant parties (PSS and BRP [Supplier]) | Metering Service Smart | Should have | Operations | MSS2 | Functional
4 | Data Marshalling
MSS4.1 | MSS uses Industry Standing Data | Data Marshalling | Industry Standing Data | The MSS must be able to use ISD for validation or other purposes as appropriate | Metering Service Smart | Must have | Operations | MSS1 | Functional | Validation requires checks that data matches valid data and valid data sets defined in ISD.
MSS4.2 | MSS uses appointment data to determine authority to carry out work | Data Marshalling | Work request management | The MSS must apply appointment periods to request to carry out work. The MSS must only carry out work during its period of appointment | Metering Service Smart | Must have | Operations | MSS1 | Functional
MSS4.3 | MSS identifies equipment subject to safety/accuracy notifications | Data Marshalling | Asset management | The MSS must ensure all equipment the metering service is responsible for remains fit for purpose (accuracy, safe, etc.). This requires the maintenance of records of assets the metering service is responsible for, and identifying any equipment that is highlighted as determined as not fit for purpose. | Metering Service Smart | Must have | Operations | MSS1 | Functional
MSS4.4 | MSS uses import/export MPAN relationships | Data Marshalling | Schedule work | The MSS must apply relationship of Meter with import and export MPANs to scheduling of work | Metering Service Smart | Must have | Operations | MSS1 | Functional | Where work is request for an import MPAN but the meter also has an export MPAN details must be shared with other services for both MPANs. Registration system should identify relationship. BSC requires same MSS appointed to both import and export MPAN
MSS4.5 | MSS records Meter configuration of non-smart meters | Data Marshalling | Meter configuration | The MSS must record meter configurations for non-smart meters particularly Time of Use (TOU) register setup, Related Meters, Prepayment metering (PPM) settings etc.. | Metering Service Smart | Must have | Operations | MSS2 | Functional
5 | Metering Activities
MSS5.1 | MSS carries out meter accuracy check | Metering Activities | Accuracy check | The MSS must be able to undertake a Meter accuracy check | Metering Service Smart | Must have | Activity | MSS1 | Functional
MSS5.2 | MSS carries out meter commissioning | Metering Activities | Commissioning | The MSS must be able to carry out commissioning checks as per BSC CoP4 - (e.g. whole current: is energy flow in the correct direction, CT ratio check) | Metering Service Smart | Must have | Activity | MSS1 | Functional
MSS5.3 | MSS carries out meter commissioning | Metering Activities | CT/VT Commissioning | The MSS must be able to carry out commissioning checks on Measurement Transformers when not responsibility of a BSC Party (in which case BSC party does the checks, typically LDSO) | Metering Service Smart | Must have | Activity | MMS1 | Functional | Required where measurement transformers are not the responsibility of the LDSO. CTs may also be used on legacy meters
MSS5.4 | MSS carries out change of energisation status | Metering Activities | Energisation status change | The MSs must be able to undertake change of energisation of metering equipment | Metering Service Smart | Must have | Activity | MSS4 | Functional
MSS5.5 | MSS carries out change to comms equipment on site | Metering Activities | Fit comms | The MSS must be able to Install/remove and maintain communications | Metering Service Smart | Must have | Activity | MSS1 | Functional | On site activity involving change to comms equipment, e.g. install comms equipment, exchange comms equipment
MSS5.6 | MSS Identifies on site metering issue | Metering Activities | Identify site issues | The MSS must be able to Identify site issues (damaged meter, meter not advancing, meter not accessible, etc.) | Metering Service Smart | Must have | Activity | MSS6 | Functional
MSS5.7 | MSS notifies of abortive work | Metering Activities | Output | The MSS must be able to notify of aborted work (no access, customer refuse, etc.) | Metering Service Smart | Must have | Activity | MSS1, MSS6 | Functional
MSS5.8 | MSS carries out metering install | Metering Activities | Install | The MSS must be able to Install metering equipment | Metering Service Smart | Must have | Activity | MSS1, MSS5 | Functional
MSS5.9 | MSS carries out on site metering investigation | Metering Activities | On-site meter investigation | The MSS must be able to carry out on-site meter investigation (investigate & fix faults) | Metering Service Smart | Must have | Activity | MSS6 | Functional
MSS5.10 | MSS carries out other onsite metering work | Metering Activities | Other | The MSS must be able to undertake other on-site work as appropriate. e.g. moving meter within day | Metering Service Smart | Must have | Activity | MSS1 | Functional
MSS5.11 | MSS carries out metering removal | Metering Activities | Remove | The MSS must be able to remove metering equipment | Metering Service Smart | Must have | Activity | MSS1, MSS5 | Functional
MSS5.12 | MSS sealing of metering equipment | Metering Activities | Sealing | The MSS must ensure all metering equipment is sealed with compliant seals (as defined by BSC & MOCOPA) | Metering Service Smart | Must have | Operations | MSS1 | Functional
6 | Data Management
MSS6.1 | MSS carries out data investigation | Data Management | Data investigation (off site) | The MSS must be able to undertake data investigation (off site) such as inconsistent standing data | Metering Service Smart | Must have | Activity | MSS6 | Functional
MSS6.2 | MSS ensures compliance with metering equipment standards | Data Management | MID/SMETS compliance | The MSS must ensure metering equipment the metering service is responsible for is compliant with the relevant standards (e.g. BSC Metering CoPs) | Metering Service Smart | Must have | Activity | MSS1 | Business Rule
7 | Service Specific Non-Functional
MSS7.1 | MSS maintains records of site activities for audit | Audit | Site Activities | The MSS must record activities carried out on site | Metering Service Smart | Must have | Activity | Non-Functional | Non-Functional
MSS7.2 | MSS Maintains records of assets for audit | Audit | Locational Information | The MSS must record location of assets e.g., stock, on wall, destroyed | Metering Service Smart | Must have | Activity | Non-Functional | Non-Functional
SM365
SM366
SM367
SM368
SM369
SM370
SM371
SM372
SM373
SM374
SM375
SM376
SM377
SM378
SM379
SM380
SM381
SM382
SM383
SM384
SM385
SM386
SM387
SM388
SM389
SM390
SM391
SM392
SM393
SM394
SM395
SM396
SM397
SM398
SM399
SM400
SM401
SM402
SM403
SM404
SM405
SM406
SM407
SM408
SM409
SM410
SM411
SM412
SM413
SM414
SM415
SM416
SM417
SM418
SM419
SM420
SM421
SM422
SM423
SM424
SM425
SM426
SM427
SM428
SM429
SM430
SM431
SM432
SM433
SM434
SM435
SM436
SM437
SM438
SM439
SM440
SM441
SM442
SM443
SM444
SM445
SM446
SM447
SM448
SM449
SM450
SM451
SM452
SM453
SM454
SM455
SM456
SM457
SM458
SM459
SM460
SM461
SM462
SM463
SM464
SM465
SM466
SM467
SM468
SM469
SM470
SM471
SM472
SM473
SM474
SM475
SM476
SM477
SM478
SM479
SM480
SM481
SM482
SM483
SM484
SM485
SM486
SM487
SM488
SM489
SM490
SM491
SM492
SM493
SM494
SM495
SM496
SM497
SM498
SM499
SM500
SM501
SM502
SM503
SM504
SM505
SM506

## Service_Diagrams
Metering Service (smart)

## Glossary
Applicable To | Category | Sub-Category | Grouping | Notes
Metering Service Smart
| General | Code Compliance | Service Design
| I/O Interface | Input interface | Operations
|  | Output Interface | Operations
|  | Input/ Output Interface | Operations
|  | Commissioning | Operations
|  | Change of Energisation | Operations
| Data Marshalling | Market Standing Data | Operations
|  | Work request management | Operations
|  | Asset management | Operations
|  | Schedule work | Operations
|  | Meter configuration | Operations
| Metering Activities | Accuracy check | Operations
|  | Commissioning | Operations
|  | CT/VT Commissioning | Operations
|  | Energisation status change | Operations
|  | Fit comms | Operations
|  | Identify site issues | Operations
|  | Output | Opertaions
|  | Install | Operations
|  | On-site meter investigation | Operations
|  | Other | Operations
|  | Remove | Operations
|  | Sealing | Operations
| Data Management | Data investigation (off site) | Activity
|  | MID/SMETS compliance | Activity
| Audit | Site Activities | Activity
|  | Locational Information | Activity

## Mapping
This Service will be responsible for:
MSS1 | Installing, commissioning and maintaining smart and non-smart Meters;
MSS2 | Configuration of non-smart Meters;
MSS3 | Maintaining an accurate register of Physical Meter Technical Details;
MSS4 | Energisation and de-energisation of smart and non-smart Meters;
MSS5 | Connection and disconnection of smart and non-smart Meters; and
MSS6 | Meter and communication equipment fault investigation where a site visit is required.